## Slide 1: Brian Austin, Wahid Bhimji, Tina Butler, Jack Deslippe, Scott French, Richard Gerber Douglas Jacobsen, Glenn K. Lockwood, Nicholas Wright, Zhengji Zhao
Tools and techniques towards a holistic understanding of I/O demands
Notes: NERSC
a big facility with a lot of users and applications,
rely on IO characterization to look forward and design future systems

## Slide 2
Filesystem | /scratch1 | /scratch2 | /scratch3 | Total
Capacity | 2.1 PB | 2.1 PB | 3.2 PB | 7.4 PB
Bandwidth | 48 GB/s | 48 GB/s | 72 GB/s | 168 GB/s
OSSes | 24 | 24 | 36 | 84
Filesystem | /scratch | /scratch2 | Total
Capacity | 1.1 PB | 1.1 PB | 2.2 PB
Bandwidth | 35 GB/s | 35 GB/s | 70 GB/s
OSSes | 26 | 26 | 52
Filesystem | DataWarp | /cscratch
Capacity | ~0.75 PB | 28.5 PB
Bandwidth | ~750 GB/s | 744 GB/s
OSSes |  | 248
Notes: 3 systems
Lustre-based scratch file systems
with gpfs too
and now datawarp

## Slide 3: NERSC's Current Monitoring Framework
compute nodes
IO forwarders
storage servers
SQL
Darshan
LMT
HDF
Notes: two-pronged approach to current monitoring
users can self-service front- and back-end data via web
facilities staff get system-wide metrics for planning
we see some interesting things. for example…

## Slide 4: Lustre Bandwidth Demand in Practice
Edison /scratch3
File systems never show > 10% of peak more than 10% of the time
99% of /scratch3 samples show less than 20 GB/s (27% of peak)
10% of peak filesystem bandwidth
Notes: our file systems are not driving near their limit – this motivated BBs

## Slide 5: Read/Write Ratios
read-heavy
write-heavy
Edison (Total Memory = 357 TB)
Hopper (Total Memory 217 TB)
Read / write balance
Avg daily reads
Hopper: 140 TB/day
Edison: 140 TB/day
Avg daily writes
Hopper: 105 TB/day (~50% RAM)
Edison: 303 TB/day (~84% RAM)
Daily Averages
Hopper:
Edison:
Daily read volume (TB)
Daily write volume (TB)
Notes: read/writes per day sprayed on a scatter plot reveal
contrast – Edison has a much larger write workload
function of system lifecycle?
Edison checkpointing more because it's less stable?

## Slide 6
Scratch growth rate: 9.4 TB/day
cf. 300 TB/day write rate
Notes: if we look at growth, we see only 9.4 TB/day in growth
vs 300+ TB/day written
30x difference implies rewrites

## Slide 7: Checkpointing I/O Workload
Chart: Walltime (hours)
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 26.0 | 27.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0 | 33.0 | 34.0 | 35.0 | 36.0 | 37.0 | 38.0 | 39.0 | 40.0 | 41.0 | 42.0 | 43.0 | 44.0 | 45.0 | 46.0 | 47.0 | 48.0 | 49.0 | 50.0
Edison MPP | 0 | 0.41635 | 0.69897 | 4.0851 | 4.2215 | 6.831 | 7.0479 | 20.2845 | 20.8741 | 21.0244 | 21.2262 | 28.4704 | 33.4801 | 33.6324 | 33.6835 | 43.2852 | 45.0592 | 50.5848 | 52.2984 | 52.3415 | 52.3904 | 52.5069 | 52.5545 | 52.6335 | 70.3963 | 95.1387 | 95.8637 | 95.8928 | 95.9668 | 96.4927 | 97.1808 | 97.4643 | 98.6673 | 98.7703 | 98.8519 | 98.8911 | 98.9045 | 98.9349 | 98.9433 | 98.9886 | 99.2975 | 99.3678 | 99.3997 | 99.5014 | 99.5096 | 99.5884 | 99.5958 | 99.6839 | 99.7377 | 99.9244 | 99.9428
Hopper MPP | 0 | 1.759 | 2.6796 | 3.3285 | 3.9514 | 5.1307 | 5.7118 | 6.9625 | 7.6143 | 8.1195 | 8.91 | 9.6079 | 10.2667 | 10.9284 | 11.1432 | 12.0308 | 12.8651 | 13.9745 | 14.775 | 15.9755 | 16.1565 | 16.5913 | 17.7066 | 17.9217 | 18.2672 | 24.7367 | 50.4989 | 50.6118 | 50.7314 | 50.8643 | 51.1913 | 51.494 | 51.7838 | 52.2247 | 52.3853 | 53.2878 | 62.1845 | 62.4336 | 62.599 | 62.7822 | 65.687 | 65.8364 | 66.0091 | 66.8151 | 66.9463 | 67.0713 | 74.6943 | 75.8356 | 91.4078 | 93.1715 | 93.2198
> 70% core hours are from jobs that reach the wallclock limit
Notes:   indirect indicators of IO provide additional insight
  this is very basic, but it is an example of how additional data sources expose more insight

## Slide 8: NERSC's Holistic Monitoring Framework
compute nodes
IO forwarders & Burst Buffers
storage servers
Darshan
(apps)
LMT
AMQP Bus
collectd
(fs)
Fabric
counters
DDNtool
Fabric
counters
collectd (dvs, lnet, dw)
Notes: now moving towards multifaceted monitoring
fabric routing counters
IO forwarders, DataWarp
backend disk performance

## Slide 9: NERSC's Holistic Monitoring Framework
Darshan records
collectd records
LMT records
…
Organized views
Correlated view analysis
Statistical analysis
…
Analyzers
AMQP Bus
Query
Interface
File system
Notes: data only useful if accessible, so we are building an analysis layer
expose data as various views
common (& custom) analysis modules

## Slide 10: The Harder I/O Questions
What is the effect of application interference on IO?
How do workflows use and modify data across time and over multiple jobs?
How can we manage the burst buffer as a new performance resource?
How can we integrate with the surrounding ecosystem to facilitate new data modalities?
Notes: goal is to answer higher-order questions

## Slide 11: Full 2014 Workload Analysis https://www.nersc.gov/research-and-development/apex/ Ongoing work funded by the DOE ASCR SSIO program

## Slide 12: User-facing I/O analysis: Front-end

## Slide 13: User-facing I/O analysis: back-end

## Slide 14: NERSC Workload Diversity
6,000 users
850 projects
10 codes = 45% of cycles
25 codes = 66% of cycles
50 codes = 80% of cycles
Applications on Hopper and Edison by hours used
January 2014 – December 2014
"Other" > 600 codes (20%)

## Slide 15: What causes performance variation?
Chart: Bandwidth (GB/s)
| 0.0 | 5.0 | 10.0 | 15.0 | 20.0 | 25.0 | 30.0 | 35.0 | 40.0 | 45.0 | 50.0 | 55.0 | 60.0 | 65.0 | 70.0 | 75.0 | 80.0
Posix_1M_read | 0 | 1 | 0 | 1 | 2 | 3 | 16 | 36 | 55 | 88 | 18 | 13 | 3 | 1 | 0 | 0 | 0
Posix_1M_write | 0 | 2 | 0 | 1 | 1 | 5 | 2 | 7 | 15 | 31 | 61 | 64 | 37 | 15 | 7 | 0 | 0
Notes: %variation = FWHM / Mode
Posix-I/O: 297 samples
MPI-I/O: 182 samples
Cron job measures performance of IOR benchmark each week.
I/O benchmarks routinely measure large fractions of peak bandwidth.
“Typical” measurements are 25-40% slower.
  30-50% variation
  A few runs are much slower.

## Slide 16: Drill down through I/O stack
Backend transfers (LMT)
Front-end metadata response (probes)
Back-end metadata rate
Notes: %variation = FWHM / Mode
Posix-I/O: 297 samples
MPI-I/O: 182 samples
Cron job measures performance of IOR benchmark each week.
I/O benchmarks routinely measure large fractions of peak bandwidth.
“Typical” measurements are 25-40% slower.
  30-50% variation
  A few runs are much slower.